## assets - Copy
country | site | county | turbine_manufacturer | number_of_turbines | capacity_per_turbine | total_capacity | UKW_stake | other_coowners | grid_connection_capacity | site_developer
Scotland | Kildrummy Wind Farm | Aberdeenshire | Enercon | 8 | 2.3MW | 18.4MW | 100 | Greencoat UK Wind | 18.4MW | BayWa | Npower Renewables | part of the RWE Group
Scotland | Stroupster Wind Farm | Caithness | Enercon E70 | 13 | 2.3MW | 29.9MW | 100 | Greencoat UK Wind | 29.9MW | BayWa | Npower Renewables | part of the RWE Group
Scotland | Tom nan Clach | Nairnshire | Vestas V112 | 13 | 3.0MW | 39.1MW | 75 | Belltown Power | 39.1MW | Infinergy
Scotland | Glen Kyllachy | Inverness | Nordex N90 | 20 | 2.425MW | 48.5MW | 100 | RWE
Scotland | Dunmaglass | Inverness | GE 2.85MW | 33 | 2.85MW | 94MW | 35.5 | SSE | 94MW | SSE
Scotland | Corriegarth | Inverness | Enercon E82-E4 | 23 | 3.02MW | 69.5MW | 100 |  |  | Invenergy and North British Wind Power
Scotland | Stronelairg | Fort Augustus | Vestas V122 and Vestas V117 | 13+53 | 3.45MW | 227.7MW | 35.5 | SSE | 227.7MW | SSE
Scotland | Braes of Doune | Stirlingshire | Vestas V80 | 36 | 2MW | 72MW | 50 | SSE | Hermes GPE LLP
Scotland | Drone Hill | Scottish Borders | Nordex N60 | 22 | 1.3MW | 28.6MW | 51.6 | Swiss Life Asset Management | AES
Scotland | Carcant Wind Farm | Scottish Borders | Siemens 2.3MW | 3 | 2.3MW | 6.9MW | 100 | SSE
Scotland | Langhope Rig | Hawick | GE xle 1.6MW | 10 | 1.6MW | 16.0MW | 100 | GE | SSE
Scotland | Middlemoor Wind Farm | Northumberland | Vestas V90 | 18 | 3.0MW | 54MW | 49 | Innogy
Scotland | Kype Muir Extension | South Lanarkshire | Nordex 3.6MW | Nordex 4.8MW | 15 | 67.2MW | 49.9 | Banks Renewables Limited | Onpath Energy
Scotland | Dalquhandy Wind Farm | South Lanarkshire | Vestas V136 | 10 | 4.2MW | 42MW | 100 | BayWa r.e.
Scotland | Douglas West | South Lanarkshire | Vestas V136 | 13 | 4.2MW | 45MW | 100 | Blue Energy
Scotland | Andershaw | South Lanarkshire | Vestas V117 | 11 | 3.45MW | 35MW | 67.35 | Statkraft | Statkraft
Scotland | Clyde North | South Lanarkshire | Siemens 2.3MW | 47 | 2.3MW | 108.1MW | 28.2 | SSE
Scotland | Clyde Central | South Lanarkshire | Siemens 2.3MW | 49 | 2.3MW | 112.1MW | 28.2 | SSE
Scotland | Clyde South | South Lanarkshire | Siemens 2.3MW | 56 | 2.3MW | 128.8MW | 28.2 | SSE
Scotland | Clyde Extension | South Lanarkshire | Siemens 3.2MW | 54 | 3.2MW | 173MW | 28.2 | SSE
Scotland | Twentyshilling | Dumfries & Galloway | Vestas V117 | 9 | 4.2MW | 37.8MW | 100 | Statkraft
Scotland | Windy Rig | Dumfries & Galloway | Vestas V112 | 12 | 3.6MW | 43.2MW | 100 | Statkraft
Scotland | South Kyle | Dalmellington | N/A | 50 | 4.8MW | 240MW | 100 | Vattenfall
Scotland | North Rhins Wind Farm | North Rhins | Vestas V80 | 11 | 2MW | 22MW | 51.6 | Swiss Life Asset Management | AES
England | Middlemoor Wind Farm | Northumberland | Vestas V90 | 18 | 3.0MW | 54MW | 49 | Innogy
England | Walney | Off Cumbrian coast | Siemens 3.6MW | 102 | 3.6MW | 367.2MW | 25.1 | SSE | Orsted | PGGM
England | Hornsea 1 | Off Yorkshire coast | Siemens 7MW | 174 | 7MW | 1200MW | 12.5 | GIP | Orsted | GIP | TRIG | Equitix
England | Sixpenny Wood Wind Farm | East Riding of Yorkshire | Senvion MM92 | 10 | 2.05MW | 20.5MW | 51.6 | AES
England | Humber Gateway | Off Yorkshire coast | Vestas V112 | 73 | 3MW | 219MW | 38 | RWE
England | Bishopthorpe Wind Farm | Lincolnshire | Senvion MM92 | 8 | 2.05MW | 16.4MW | 67.35 | Statkraft | Statkraft
England | Lindhurst Wind Farm | Nottinghamshire | Vestas V90 | 5 | 1.8MW | 9MW | 49 | Innogy
England | Bicker Fen | Lincolnshire | Senvion MM82 | 13 | 2.05MW | 26.7MW | 80 | EDF Energy Renewables
England | Red House | Lincolnshire | Senvion MM82 | 6 | 2.05MW | 12.3MW | 80 | EDF Energy Renewables
England | Deeping St Nicholas | Lincolnshire | Senvion MM82 | 8 | 2.05MW | 16.4MW | 80 | EDF Energy Renewables
England | Glass Moor | Cambridgeshire | Senvion MM82 | 8 | 2.05MW | 16.4MW | 80 | EDF Energy Renewables
England | Red Tile | Cambridgeshire | Senvion MM82 | 12 | 2.05MW | 24.6MW | 80 | EDF Energy Renewables
England | Cotton Farm Wind Farm | Cambridgeshire | Senvion MM92 | 8 | 2.05MW | 16.4MW | 100 | BayWa | Npower Renewables | part of the RWE Group
England | Yelvertoft Wind Farm | Northamptonshire | Senvion MM92 | 8 | 2.05MW | 16.4MW | 51.6 | Swiss Life Asset Management | AES
England | Earl's Hall Farm Wind Farm | Essex | Senvion MM92 | 5 | 2.05MW | 10.25MW | 100 | BayWa | Npower Renewables | part of the RWE Group
England | London Array | Kent | Various | 175 | 3.6MW | 630MW | 13.7 | Orsted | RWE | CDPQ | Masdar | Schroders Greencoat
England | Little Cheyne Court Wind Farm | Kent | Nordex N90 | 26 | 2.3MW | 59.8MW | 41 | Innogy
England | Rhyl Flats | Off North Wales coast | Siemens 3.6MW | 25 | 3.6MW | 90MW | 24.95 | UKGIB | Innogy
England | North Hoyle | Off North Wales coast | Vestas V80 | 30 | 2MW | 60MW | 100 | JP Morgan Asset Management | Innogy
England | Burbo Bank Extension | Off Wirral | Vestas 8.13MW | 32 | 8.13MW | 258MW | 15.7 | AIP | Orsted | Kirkbi | Greencoat Capital
Wales | Maerdy Wind Farm | Rhondda Valley | Glamorgan | Siemens 3.0MW | 8 | 3.0MW | 24MW | 100 | Velocita | Renewable Energy Partnerships
Northern Ireland | Brockaghboy Wind Farm | Londonderry | Nordex | 19 | 2.5MW | 47.5MW | 100 | Greencoat UK Wind | 47.5MW | ERG Power Generation
Northern Ireland | Slieve Divena II | Tyrone | Enercon | 8 | 2.35MW | 18.8MW | 100 | Greencoat UK Wind | 18.8MW | SSE
Northern Ireland | Slieve Divena | Tyrone | Nordex | 12 | 2.5MW | 30MW | 100 | Greencoat UK Wind | 30MW | JP Morgan Asset Management | SSE
Northern Ireland | Screggagh Wind Farm | Tyrone | Nordex | 8 | 2.5MW | 20.0MW | 100 | Greencoat UK Wind | 20.0MW
Northern Ireland | Tappaghan Wind Farm | Fermanagh | GE | 13 | 1.5MW | 28.5MW | 100 | Greencoat UK Wind | 28.5MW | SSE
Northern Ireland | Tappaghan Wind Farm | Fermanagh | GE | 6 | 1.5MW | 28.5MW | 100 | Greencoat UK Wind | 28.5MW | SSE
Northern Ireland | Bin Mountain Wind Farm | Tyrone | GE | 6 | 1.5MW | 9MW | 100 | Greencoat UK Wind | 9MW | SSE
Northern Ireland | Church Hill Wind Farm | Tyrone | Enercon | 8 | 2.3MW | 18.4MW | 100 | Greencoat UK Wind | 18.4MW | Irish Infrastructure Fund and Viridian
Northern Ireland | Crighshane Wind Farm | Tyrone | Enercon | 14 | 2.3MW | 32.2MW | 100 | Greencoat UK Wind | 32.2MW | Irish Infrastructure Fund and Viridian